## Sheet1
PROPERTIES
General
Name | N163-6.X MW 50-60 Hz vM3_6530
Manufacturer | Nordex
Hub Height | 118 | 138 | 148 | 158.5 | 164
Power
Rated Power | 6530
Peak Power | 6530
Power Regulation Type | Pitch
Voltage | 920
Rotor
Rotor diameter | 163
Number of blades | 3
Rated RPM | -
Rotor tilt | 5
Speed Regulation Type | Variable
Wind Speed Control Strategies
Cut-in Wind Speed | 3
Cut-out Wind Speed | 26
Restart Wind Speed | 25.5
Stop Wind Speed | 3
Temperature Control Strategies
Low Temperature Shutdown | -40
Low Temperature Restart | -20
High Temperature Shutdown | 40
High Temperature Restart | 50
Comments and details

## Sheet2
TURBINE CLASIFICATION
Class and Subclass
Turbine Class | S
Turbine SubClass | -
Values
Certification | IEC 3rd Edition
Vave | 7.5
Vref | 39.5
Design TI | 0.35

## Sheet3
POWER CURVE
Power (kW)
Air Density (kg/m³)
TI (%) | 10 | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 5 | 7 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 37 | 39
| 3.5 | 81 | 85 | 89 | 93 | 97 | 102 | 106 | 110 | 114 | 118 | 122 | 127 | 131 | 135 | 139 | 143 | 147
| 4 | 183 | 190 | 197 | 204 | 211 | 218 | 225 | 232 | 239 | 246 | 253 | 260 | 267 | 274 | 281 | 288 | 295
| 4.5 | 311 | 322 | 332 | 343 | 353 | 364 | 374 | 385 | 396 | 406 | 417 | 427 | 438 | 448 | 459 | 469 | 480
| 5 | 465 | 480 | 495 | 509 | 524 | 539 | 554 | 569 | 583 | 598 | 613 | 628 | 643 | 657 | 672 | 687 | 702
| 5.5 | 647 | 667 | 687 | 706 | 726 | 746 | 766 | 786 | 806 | 826 | 845 | 865 | 885 | 905 | 925 | 944 | 964
| 6 | 862 | 887 | 913 | 939 | 965 | 991 | 1016 | 1042 | 1068 | 1094 | 1119 | 1145 | 1171 | 1197 | 1222 | 1248 | 1274
| 6.5 | 1114 | 1146 | 1179 | 1212 | 1245 | 1277 | 1310 | 1343 | 1375 | 1408 | 1441 | 1473 | 1506 | 1539 | 1571 | 1604 | 1637
| 7 | 1407 | 1448 | 1488 | 1529 | 1570 | 1611 | 1652 | 1692 | 1733 | 1774 | 1814 | 1855 | 1896 | 1937 | 1977 | 2018 | 2059
| 7.5 | 1744 | 1794 | 1845 | 1895 | 1945 | 1995 | 2045 | 2095 | 2145 | 2195 | 2244 | 2294 | 2344 | 2394 | 2444 | 2494 | 2544
| 8 | 2128 | 2189 | 2250 | 2310 | 2371 | 2431 | 2492 | 2552 | 2613 | 2673 | 2733 | 2794 | 2854 | 2914 | 2975 | 3035 | 3095
| 8.5 | 2546 | 2618 | 2690 | 2762 | 2834 | 2906 | 2978 | 3050 | 3122 | 3193 | 3265 | 3337 | 3409 | 3480 | 3552 | 3623 | 3690
| 9 | 2972 | 3055 | 3139 | 3223 | 3306 | 3389 | 3473 | 3556 | 3640 | 3723 | 3806 | 3889 | 3972 | 4055 | 4138 | 4221 | 4292
| 9.5 | 3388 | 3483 | 3577 | 3672 | 3767 | 3862 | 3956 | 4051 | 4146 | 4240 | 4334 | 4429 | 4523 | 4617 | 4712 | 4807 | 4880
| 10 | 3784 | 3890 | 3996 | 4101 | 4207 | 4312 | 4417 | 4523 | 4628 | 4733 | 4838 | 4943 | 5049 | 5153 | 5252 | 5351 | 5422
| 10.5 | 4152 | 4268 | 4384 | 4499 | 4615 | 4730 | 4845 | 4960 | 5075 | 5192 | 5306 | 5413 | 5519 | 5617 | 5699 | 5781 | 5835
| 11 | 4492 | 4617 | 4742 | 4866 | 4991 | 5115 | 5240 | 5366 | 5483 | 5595 | 5704 | 5792 | 5879 | 5959 | 6024 | 6090 | 6131
| 11.5 | 4812 | 4945 | 5079 | 5211 | 5345 | 5479 | 5600 | 5717 | 5820 | 5912 | 6001 | 6072 | 6142 | 6205 | 6254 | 6303 | 6333
| 12 | 5119 | 5261 | 5403 | 5544 | 5670 | 5792 | 5894 | 5990 | 6074 | 6149 | 6221 | 6274 | 6327 | 6373 | 6406 | 6440 | 6459
| 12.5 | 5419 | 5567 | 5701 | 5827 | 5933 | 6035 | 6118 | 6197 | 6262 | 6319 | 6374 | 6410 | 6447 | 6477 | 6494 | 6511 | 6520
| 13 | 5700 | 5830 | 5944 | 6050 | 6137 | 6219 | 6285 | 6345 | 6394 | 6433 | 6471 | 6491 | 6511 | 6525 | 6527 | 6529 | 6530
| 13.5 | 5931 | 6041 | 6136 | 6222 | 6291 | 6355 | 6403 | 6446 | 6477 | 6501 | 6521 | 6525 | 6529 | 6530 | 6530 | 6530 | 6530
| 14 | 6118 | 6208 | 6284 | 6352 | 6403 | 6449 | 6480 | 6506 | 6520 | 6527 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 14.5 | 6265 | 6337 | 6394 | 6444 | 6477 | 6507 | 6520 | 6528 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 15 | 6376 | 6430 | 6469 | 6502 | 6518 | 6529 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 15.5 | 6455 | 6491 | 6513 | 6528 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 16 | 6505 | 6523 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 16.5 | 6528 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 17 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 17.5 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 18 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 18.5 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 19 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 19.5 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 20 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 20.5 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530 | 6530
| 21 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331 | 6331
| 21.5 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059 | 6059
| 22 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794 | 5794
| 22.5 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528 | 5528
| 23 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270
| 23.5 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012 | 5012
| 24 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760 | 4760
| 24.5 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508 | 4508
| 25 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264 | 4264
| 25.5 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019 | 4019
| 26 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774 | 3774

## Sheet4
THRUST CURVE
Ct (-)
Air Density (kg/m³)
|  | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872 | 0.872
| 3.5 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86
| 4 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845 | 0.845
| 4.5 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831 | 0.831
| 5 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
| 5.5 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813 | 0.813
| 6 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808
| 6.5 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805 | 0.805
| 7 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803 | 0.803
| 7.5 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795
| 8 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.776 | 0.774
| 8.5 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.747 | 0.744
| 9 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.712 | 0.708
| 9.5 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.673 | 0.672 | 0.671 | 0.669 | 0.664
| 10 | 0.634 | 0.634 | 0.634 | 0.634 | 0.634 | 0.634 | 0.634 | 0.634 | 0.634 | 0.633 | 0.632 | 0.63 | 0.629 | 0.627 | 0.624 | 0.621 | 0.616
| 10.5 | 0.593 | 0.593 | 0.593 | 0.593 | 0.593 | 0.593 | 0.592 | 0.591 | 0.59 | 0.588 | 0.586 | 0.584 | 0.581 | 0.578 | 0.575 | 0.572 | 0.566
| 11 | 0.552 | 0.552 | 0.552 | 0.551 | 0.551 | 0.55 | 0.548 | 0.546 | 0.544 | 0.541 | 0.539 | 0.536 | 0.533 | 0.529 | 0.526 | 0.522 | 0.516
| 11.5 | 0.511 | 0.511 | 0.51 | 0.509 | 0.507 | 0.505 | 0.503 | 0.5 | 0.498 | 0.495 | 0.492 | 0.488 | 0.485 | 0.481 | 0.477 | 0.473 | 0.467
| 12 | 0.471 | 0.469 | 0.468 | 0.466 | 0.464 | 0.461 | 0.458 | 0.456 | 0.452 | 0.449 | 0.446 | 0.442 | 0.438 | 0.434 | 0.43 | 0.425 | 0.419
| 12.5 | 0.432 | 0.43 | 0.428 | 0.425 | 0.422 | 0.42 | 0.416 | 0.413 | 0.41 | 0.406 | 0.402 | 0.398 | 0.394 | 0.39 | 0.385 | 0.381 | 0.375
| 13 | 0.396 | 0.393 | 0.391 | 0.388 | 0.385 | 0.382 | 0.378 | 0.375 | 0.371 | 0.367 | 0.363 | 0.359 | 0.355 | 0.35 | 0.346 | 0.341 | 0.335
| 13.5 | 0.363 | 0.36 | 0.357 | 0.354 | 0.351 | 0.347 | 0.344 | 0.34 | 0.336 | 0.332 | 0.328 | 0.324 | 0.319 | 0.315 | 0.31 | 0.306 | 0.3
| 14 | 0.333 | 0.33 | 0.327 | 0.324 | 0.32 | 0.317 | 0.313 | 0.309 | 0.305 | 0.301 | 0.297 | 0.292 | 0.288 | 0.283 | 0.279 | 0.274 | 0.269
| 14.5 | 0.307 | 0.303 | 0.3 | 0.296 | 0.292 | 0.289 | 0.285 | 0.281 | 0.277 | 0.272 | 0.268 | 0.264 | 0.259 | 0.255 | 0.25 | 0.246 | 0.241
| 15 | 0.282 | 0.279 | 0.275 | 0.271 | 0.267 | 0.263 | 0.259 | 0.255 | 0.251 | 0.247 | 0.243 | 0.238 | 0.234 | 0.229 | 0.224 | 0.22 | 0.216
| 15.5 | 0.26 | 0.256 | 0.252 | 0.249 | 0.245 | 0.241 | 0.236 | 0.232 | 0.228 | 0.224 | 0.22 | 0.215 | 0.211 | 0.206 | 0.202 | 0.198 | 0.194
| 16 | 0.239 | 0.236 | 0.232 | 0.228 | 0.224 | 0.22 | 0.216 | 0.212 | 0.207 | 0.203 | 0.199 | 0.194 | 0.19 | 0.186 | 0.182 | 0.179 | 0.175
| 16.5 | 0.221 | 0.217 | 0.214 | 0.21 | 0.206 | 0.202 | 0.197 | 0.193 | 0.189 | 0.185 | 0.18 | 0.177 | 0.173 | 0.169 | 0.166 | 0.163 | 0.159
| 17 | 0.205 | 0.202 | 0.198 | 0.194 | 0.189 | 0.185 | 0.181 | 0.177 | 0.173 | 0.169 | 0.165 | 0.162 | 0.158 | 0.155 | 0.152 | 0.149 | 0.146
| 17.5 | 0.191 | 0.187 | 0.183 | 0.179 | 0.175 | 0.171 | 0.167 | 0.163 | 0.159 | 0.156 | 0.152 | 0.149 | 0.146 | 0.143 | 0.14 | 0.138 | 0.135
| 18 | 0.179 | 0.175 | 0.171 | 0.167 | 0.163 | 0.159 | 0.155 | 0.151 | 0.148 | 0.145 | 0.141 | 0.139 | 0.136 | 0.133 | 0.131 | 0.128 | 0.126
| 18.5 | 0.168 | 0.164 | 0.16 | 0.156 | 0.152 | 0.148 | 0.145 | 0.141 | 0.138 | 0.135 | 0.132 | 0.13 | 0.127 | 0.125 | 0.122 | 0.12 | 0.118
| 19 | 0.158 | 0.154 | 0.15 | 0.146 | 0.143 | 0.139 | 0.136 | 0.133 | 0.13 | 0.127 | 0.125 | 0.122 | 0.12 | 0.117 | 0.115 | 0.113 | 0.111
| 19.5 | 0.15 | 0.146 | 0.142 | 0.138 | 0.135 | 0.132 | 0.129 | 0.126 | 0.123 | 0.12 | 0.118 | 0.116 | 0.113 | 0.111 | 0.109 | 0.107 | 0.105
| 20 | 0.142 | 0.139 | 0.135 | 0.132 | 0.128 | 0.125 | 0.122 | 0.12 | 0.117 | 0.115 | 0.112 | 0.11 | 0.108 | 0.106 | 0.104 | 0.102 | 0.1
| 20.5 | 0.128 | 0.125 | 0.121 | 0.119 | 0.115 | 0.112 | 0.11 | 0.108 | 0.105 | 0.103 | 0.101 | 0.099 | 0.097 | 0.095 | 0.093 | 0.092 | 0.09
| 21 | 0.115 | 0.113 | 0.109 | 0.107 | 0.104 | 0.101 | 0.099 | 0.097 | 0.095 | 0.093 | 0.091 | 0.089 | 0.087 | 0.086 | 0.084 | 0.083 | 0.081
| 21.5 | 0.104 | 0.101 | 0.098 | 0.096 | 0.093 | 0.091 | 0.089 | 0.087 | 0.085 | 0.084 | 0.082 | 0.08 | 0.079 | 0.077 | 0.076 | 0.074 | 0.073
| 22 | 0.093 | 0.091 | 0.088 | 0.086 | 0.084 | 0.082 | 0.08 | 0.078 | 0.077 | 0.075 | 0.073 | 0.072 | 0.071 | 0.069 | 0.068 | 0.067 | 0.065
| 22.5 | 0.083 | 0.081 | 0.079 | 0.077 | 0.075 | 0.073 | 0.071 | 0.07 | 0.069 | 0.067 | 0.066 | 0.064 | 0.063 | 0.062 | 0.061 | 0.06 | 0.059
| 23 | 0.074 | 0.073 | 0.071 | 0.069 | 0.067 | 0.066 | 0.064 | 0.063 | 0.061 | 0.06 | 0.059 | 0.058 | 0.057 | 0.056 | 0.054 | 0.053 | 0.052
| 23.5 | 0.067 | 0.065 | 0.063 | 0.062 | 0.06 | 0.059 | 0.057 | 0.056 | 0.055 | 0.054 | 0.053 | 0.052 | 0.051 | 0.05 | 0.049 | 0.048 | 0.047
| 24 | 0.06 | 0.059 | 0.057 | 0.056 | 0.054 | 0.053 | 0.051 | 0.051 | 0.049 | 0.048 | 0.047 | 0.046 | 0.045 | 0.045 | 0.044 | 0.043 | 0.042
| 24.5 | 0.054 | 0.053 | 0.051 | 0.05 | 0.049 | 0.047 | 0.046 | 0.045 | 0.044 | 0.044 | 0.042 | 0.042 | 0.041 | 0.04 | 0.039 | 0.039 | 0.038
| 25 | 0.049 | 0.048 | 0.046 | 0.045 | 0.044 | 0.043 | 0.042 | 0.041 | 0.04 | 0.04 | 0.039 | 0.038 | 0.037 | 0.036 | 0.036 | 0.035 | 0.034
| 25.5 | 0.045 | 0.044 | 0.043 | 0.042 | 0.04 | 0.039 | 0.038 | 0.038 | 0.037 | 0.036 | 0.035 | 0.035 | 0.034 | 0.033 | 0.033 | 0.032 | 0.032
| 26 | 0.042 | 0.041 | 0.04 | 0.039 | 0.038 | 0.037 | 0.036 | 0.035 | 0.034 | 0.034 | 0.033 | 0.032 | 0.032 | 0.031 | 0.031 | 0.03 | 0.029