## Sheet1
PROPERTIES
General
Name | Nordex N149/4.X Mode 1.b 4,38MW
Manufacturer | Nordex
Hub Height | 105 | 108 | 125 | 135 | 145 | 155 | 164
Power
Rated Power | 4380
Peak Power | 4380
Power Regulation Type | Pitch
Voltage | 660
Rotor
Rotor diameter | 149
Number of blades | 3
Rated RPM | 12.3
Rotor tilt | 6
Speed Regulation Type | Variable
Wind Speed Control Strategies
Cut-in Wind Speed | 3
Cut-out Wind Speed | 26
Restart Wind Speed | 25.5
Stop Wind Speed | 3
Temperature Control Strategies
Low Temperature Shutdown | -20
Low Temperature Restart | -18
High Temperature Shutdown | 40
High Temperature Restart | 38
Comments and details

## Sheet2
TURBINE CLASIFICATION
Class and Subclass
Turbine Class | S
Turbine SubClass | S
Values
Certification | IEC 3rd Edition
Vave | 7.5-9
Vref | 42
Design TI | 0.11

## Sheet3
POWER CURVE
Power (kW)
Air Density (kg/m³)
TI (%) | 10 | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 9 | 11 | 13 | 14 | 16 | 18 | 19 | 21 | 23 | 24 | 26 | 28 | 29 | 31 | 32 | 34 | 36
| 3.5 | 77 | 80 | 84 | 87 | 91 | 94 | 98 | 101 | 105 | 108 | 112 | 115 | 119 | 122 | 126 | 129 | 133
| 4 | 169 | 175 | 181 | 187 | 193 | 199 | 205 | 211 | 217 | 223 | 229 | 235 | 241 | 247 | 253 | 259 | 265
| 4.5 | 282 | 291 | 300 | 309 | 318 | 327 | 336 | 346 | 355 | 364 | 373 | 382 | 391 | 400 | 409 | 419 | 428
| 5 | 417 | 430 | 443 | 455 | 468 | 481 | 494 | 507 | 520 | 533 | 545 | 558 | 571 | 584 | 597 | 610 | 622
| 5.5 | 576 | 593 | 611 | 628 | 645 | 662 | 680 | 697 | 714 | 731 | 748 | 766 | 783 | 800 | 817 | 834 | 852
| 6 | 763 | 786 | 808 | 831 | 853 | 875 | 898 | 920 | 942 | 964 | 987 | 1009 | 1031 | 1054 | 1076 | 1098 | 1120
| 6.5 | 982 | 1010 | 1039 | 1067 | 1095 | 1124 | 1152 | 1180 | 1208 | 1236 | 1265 | 1293 | 1321 | 1349 | 1377 | 1405 | 1433
| 7 | 1235 | 1271 | 1306 | 1341 | 1376 | 1411 | 1446 | 1481 | 1516 | 1551 | 1586 | 1621 | 1656 | 1691 | 1726 | 1761 | 1796
| 7.5 | 1526 | 1569 | 1612 | 1655 | 1698 | 1741 | 1784 | 1827 | 1870 | 1912 | 1955 | 1998 | 2040 | 2083 | 2126 | 2168 | 2211
| 8 | 1856 | 1908 | 1960 | 2012 | 2064 | 2115 | 2167 | 2219 | 2270 | 2322 | 2373 | 2424 | 2476 | 2527 | 2578 | 2629 | 2678
| 8.5 | 2226 | 2288 | 2349 | 2411 | 2473 | 2534 | 2595 | 2657 | 2718 | 2779 | 2840 | 2900 | 2959 | 3017 | 3076 | 3132 | 3186
| 9 | 2619 | 2691 | 2762 | 2834 | 2906 | 2978 | 3051 | 3125 | 3199 | 3272 | 3346 | 3401 | 3453 | 3503 | 3552 | 3599 | 3644
| 9.5 | 3018 | 3101 | 3184 | 3268 | 3351 | 3434 | 3508 | 3572 | 3634 | 3697 | 3761 | 3803 | 3842 | 3880 | 3918 | 3952 | 3985
| 10 | 3410 | 3502 | 3594 | 3665 | 3735 | 3806 | 3866 | 3916 | 3965 | 4014 | 4063 | 4094 | 4120 | 4146 | 4170 | 4192 | 4213
| 10.5 | 3758 | 3835 | 3912 | 3968 | 4023 | 4079 | 4124 | 4159 | 4193 | 4227 | 4262 | 4279 | 4293 | 4305 | 4316 | 4327 | 4337
| 11 | 4015 | 4076 | 4137 | 4175 | 4214 | 4253 | 4283 | 4302 | 4322 | 4341 | 4361 | 4366 | 4368 | 4370 | 4372 | 4374 | 4376
| 11.5 | 4193 | 4236 | 4279 | 4301 | 4324 | 4346 | 4361 | 4366 | 4371 | 4376 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 12 | 4304 | 4328 | 4354 | 4361 | 4369 | 4377 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 12.5 | 4360 | 4369 | 4379 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 13 | 4378 | 4379 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 13.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 14 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 14.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 15 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 15.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 16 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 16.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 17 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 17.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 18 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 18.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 19 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 19.5 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 20 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| 20.5 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364 | 4364
| 21 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281 | 4281
| 21.5 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131 | 4131
| 22 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951 | 3951
| 22.5 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776 | 3776
| 23 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600
| 23.5 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420 | 3420
| 24 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245 | 3245
| 24.5 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065 | 3065
| 25 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885 | 2885
| 25.5 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705 | 2705
| 26 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529 | 2529

## Sheet4
THRUST CURVE
Ct (-)
Air Density (kg/m³)
|  | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431 | 0.57431
| 3.5 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361 | 0.57361
| 4 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736 | 0.56736
| 4.5 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111 | 0.56111
| 5 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556 | 0.55556
| 5.5 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139 | 0.55139
| 6 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931 | 0.54931
| 6.5 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792
| 7 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722
| 7.5 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54583 | 0.54514 | 0.54444 | 0.54306
| 8 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53889 | 0.53681 | 0.53472 | 0.53194 | 0.52986 | 0.52708
| 8.5 | 0.525 | 0.525 | 0.525 | 0.525 | 0.525 | 0.525 | 0.525 | 0.52292 | 0.52153 | 0.52014 | 0.51944 | 0.51736 | 0.51389 | 0.50972 | 0.50625 | 0.50278 | 0.49861
| 9 | 0.50556 | 0.50556 | 0.50556 | 0.50486 | 0.50278 | 0.50139 | 0.5 | 0.49722 | 0.49444 | 0.49167 | 0.48958 | 0.48611 | 0.48194 | 0.47708 | 0.47292 | 0.46875 | 0.46389
| 9.5 | 0.48264 | 0.48056 | 0.47917 | 0.47708 | 0.47431 | 0.47153 | 0.46875 | 0.46528 | 0.46181 | 0.45833 | 0.45556 | 0.45139 | 0.44722 | 0.44167 | 0.43681 | 0.43264 | 0.42708
| 10 | 0.45347 | 0.45069 | 0.44792 | 0.44514 | 0.44167 | 0.43819 | 0.43542 | 0.43125 | 0.42708 | 0.42292 | 0.41944 | 0.41528 | 0.41042 | 0.40486 | 0.4 | 0.39514 | 0.39028
| 10.5 | 0.42222 | 0.41875 | 0.41528 | 0.41181 | 0.40764 | 0.40417 | 0.40069 | 0.39583 | 0.39167 | 0.3875 | 0.38333 | 0.37917 | 0.37431 | 0.36875 | 0.36319 | 0.35833 | 0.35278
| 11 | 0.38958 | 0.38611 | 0.38194 | 0.37847 | 0.37361 | 0.36944 | 0.36597 | 0.36111 | 0.35625 | 0.35208 | 0.34792 | 0.34375 | 0.33819 | 0.33264 | 0.32708 | 0.32222 | 0.31667
| 11.5 | 0.35764 | 0.35278 | 0.34931 | 0.34514 | 0.34028 | 0.33611 | 0.33194 | 0.32708 | 0.32222 | 0.31736 | 0.31319 | 0.30903 | 0.30347 | 0.29792 | 0.29236 | 0.2875 | 0.28194
| 12 | 0.325 | 0.32083 | 0.31667 | 0.31181 | 0.30694 | 0.30278 | 0.29861 | 0.29375 | 0.28889 | 0.28403 | 0.27986 | 0.275 | 0.27014 | 0.26389 | 0.25903 | 0.25347 | 0.24861
| 12.5 | 0.29375 | 0.28958 | 0.28472 | 0.28056 | 0.27569 | 0.27083 | 0.26667 | 0.26181 | 0.25694 | 0.25208 | 0.24792 | 0.24306 | 0.2375 | 0.23194 | 0.22708 | 0.22222 | 0.21736
| 13 | 0.26458 | 0.25972 | 0.25556 | 0.25069 | 0.24583 | 0.24097 | 0.23681 | 0.23194 | 0.22708 | 0.22222 | 0.21806 | 0.21319 | 0.20833 | 0.20278 | 0.19861 | 0.19375 | 0.18958
| 13.5 | 0.23819 | 0.23333 | 0.22847 | 0.22431 | 0.21944 | 0.21458 | 0.21042 | 0.20486 | 0.2 | 0.19514 | 0.19097 | 0.18681 | 0.18194 | 0.17778 | 0.17431 | 0.17014 | 0.16667
| 14 | 0.21458 | 0.20972 | 0.20486 | 0.2 | 0.19514 | 0.19028 | 0.18611 | 0.18125 | 0.17639 | 0.17222 | 0.16806 | 0.16458 | 0.16042 | 0.15764 | 0.15417 | 0.15069 | 0.14792
| 14.5 | 0.19306 | 0.18819 | 0.18333 | 0.17847 | 0.17361 | 0.16944 | 0.16458 | 0.16111 | 0.15694 | 0.15347 | 0.15 | 0.14653 | 0.14306 | 0.14028 | 0.1375 | 0.13472 | 0.13264
| 15 | 0.17361 | 0.16875 | 0.16389 | 0.15972 | 0.15486 | 0.15139 | 0.14722 | 0.14375 | 0.14028 | 0.1375 | 0.13403 | 0.13125 | 0.12847 | 0.12639 | 0.12361 | 0.12153 | 0.11875
| 15.5 | 0.15556 | 0.15139 | 0.14722 | 0.14306 | 0.13958 | 0.13611 | 0.13264 | 0.12986 | 0.12639 | 0.12361 | 0.12083 | 0.11875 | 0.11597 | 0.11389 | 0.11181 | 0.10972 | 0.10764
| 16 | 0.14028 | 0.13681 | 0.13264 | 0.12917 | 0.12639 | 0.12292 | 0.12014 | 0.11736 | 0.11458 | 0.1125 | 0.10972 | 0.10764 | 0.10556 | 0.10347 | 0.10139 | 0.1 | 0.097917
| 16.5 | 0.12778 | 0.12431 | 0.12083 | 0.11806 | 0.11458 | 0.11181 | 0.10972 | 0.10694 | 0.10486 | 0.10278 | 0.1 | 0.098611 | 0.096528 | 0.094444 | 0.093056 | 0.090972 | 0.089583
| 17 | 0.11667 | 0.11389 | 0.11042 | 0.10764 | 0.10556 | 0.10278 | 0.10069 | 0.098611 | 0.096528 | 0.094444 | 0.092361 | 0.090278 | 0.088889 | 0.086806 | 0.085417 | 0.084028 | 0.082639
| 17.5 | 0.10764 | 0.10486 | 0.10208 | 0.1 | 0.097222 | 0.095139 | 0.093056 | 0.090972 | 0.088889 | 0.0875 | 0.085417 | 0.084028 | 0.081944 | 0.080556 | 0.079167 | 0.077778 | 0.076389
| 18 | 0.1 | 0.097222 | 0.095139 | 0.093056 | 0.090278 | 0.088194 | 0.086806 | 0.084722 | 0.082639 | 0.08125 | 0.079861 | 0.077778 | 0.076389 | 0.075 | 0.073611 | 0.072222 | 0.071528
| 18.5 | 0.09375 | 0.090972 | 0.088889 | 0.086806 | 0.084722 | 0.082639 | 0.08125 | 0.079167 | 0.077778 | 0.076389 | 0.075 | 0.072917 | 0.071528 | 0.070833 | 0.069444 | 0.098 | 0.096
| 19 | 0.088194 | 0.086111 | 0.084028 | 0.081944 | 0.079861 | 0.078472 | 0.076389 | 0.075 | 0.073611 | 0.071528 | 0.070139 | 0.069444 | 0.098 | 0.096 | 0.094 | 0.093 | 0.091
| 19.5 | 0.083333 | 0.08125 | 0.079167 | 0.077778 | 0.075694 | 0.074306 | 0.072222 | 0.070833 | 0.069444 | 0.098 | 0.096 | 0.095 | 0.093 | 0.091 | 0.09 | 0.088 | 0.087
| 20 | 0.079861 | 0.077778 | 0.075694 | 0.074306 | 0.072222 | 0.070833 | 0.069444 | 0.098 | 0.096 | 0.094 | 0.092 | 0.09 | 0.089 | 0.087 | 0.086 | 0.084 | 0.083
| 20.5 | 0.073611 | 0.071528 | 0.070139 | 0.099 | 0.096 | 0.094 | 0.092 | 0.09 | 0.089 | 0.087 | 0.085 | 0.083 | 0.082 | 0.08 | 0.079 | 0.078 | 0.077
| 21 | 0.096 | 0.094 | 0.091 | 0.09 | 0.087 | 0.086 | 0.084 | 0.082 | 0.081 | 0.079 | 0.077 | 0.076 | 0.075 | 0.073 | 0.072 | 0.07 | 0.07
| 21.5 | 0.086 | 0.084 | 0.082 | 0.08 | 0.078 | 0.077 | 0.075 | 0.074 | 0.072 | 0.071 | 0.069 | 0.068 | 0.067 | 0.065 | 0.065 | 0.063 | 0.062
| 22 | 0.078 | 0.076 | 0.074 | 0.072 | 0.07 | 0.069 | 0.068 | 0.066 | 0.065 | 0.064 | 0.062 | 0.061 | 0.06 | 0.059 | 0.058 | 0.057 | 0.056
| 22.5 | 0.07 | 0.068 | 0.066 | 0.065 | 0.063 | 0.062 | 0.061 | 0.059 | 0.058 | 0.057 | 0.056 | 0.055 | 0.054 | 0.053 | 0.052 | 0.051 | 0.05
| 23 | 0.063 | 0.061 | 0.06 | 0.058 | 0.057 | 0.056 | 0.055 | 0.054 | 0.052 | 0.051 | 0.05 | 0.049 | 0.049 | 0.048 | 0.047 | 0.046 | 0.045
| 23.5 | 0.056 | 0.055 | 0.053 | 0.052 | 0.051 | 0.05 | 0.049 | 0.048 | 0.047 | 0.046 | 0.045 | 0.044 | 0.043 | 0.042 | 0.042 | 0.041 | 0.041
| 24 | 0.051 | 0.049 | 0.048 | 0.047 | 0.046 | 0.045 | 0.044 | 0.043 | 0.042 | 0.041 | 0.04 | 0.04 | 0.039 | 0.038 | 0.038 | 0.037 | 0.037
| 24.5 | 0.046 | 0.045 | 0.043 | 0.043 | 0.041 | 0.041 | 0.04 | 0.039 | 0.038 | 0.037 | 0.037 | 0.036 | 0.035 | 0.035 | 0.034 | 0.033 | 0.033
| 25 | 0.042 | 0.04 | 0.039 | 0.039 | 0.038 | 0.037 | 0.036 | 0.035 | 0.035 | 0.034 | 0.033 | 0.032 | 0.032 | 0.031 | 0.031 | 0.03 | 0.03
| 25.5 | 0.037 | 0.036 | 0.035 | 0.035 | 0.034 | 0.033 | 0.032 | 0.032 | 0.031 | 0.03 | 0.03 | 0.029 | 0.029 | 0.028 | 0.028 | 0.027 | 0.027
| 26 | 0.034 | 0.033 | 0.032 | 0.032 | 0.031 | 0.03 | 0.03 | 0.029 | 0.028 | 0.028 | 0.027 | 0.027 | 0.026 | 0.026 | 0.025 | 0.025 | 0.024