## Sheet1
PROPERTIES
General
Name | Nordex N149/5.X 5,4MW
Manufacturer | Nordex
Hub Height | 105 | 120 | 125 | 145 | 155 | 164
Power
Rated Power | 5400
Peak Power | 5400
Power Regulation Type | Pitch
Voltage | 750
Rotor
Rotor diameter | 149
Number of blades | 3
Rated RPM | 20.5
Rotor tilt | 6
Speed Regulation Type | Variable
Wind Speed Control Strategies
Cut-in Wind Speed | 3
Cut-out Wind Speed | 26
Restart Wind Speed | 25.5
Stop Wind Speed | 3
Temperature Control Strategies
Low Temperature Shutdown | -20
Low Temperature Restart | -18
High Temperature Shutdown | 50
High Temperature Restart | 40
Comments and details

## Sheet2
TURBINE CLASIFICATION
Class and Subclass
Turbine Class | III
Turbine SubClass | S
Values
Certification | IEC 3rd Edition
Vave | 7.5-9.5
Vref | 42
Design TI | 0.11

## Sheet3
POWER CURVE
Power (kW)
Air Density (kg/m³)
TI (%) | 10 | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 2 | 4 | 5 | 8 | 10 | 12 | 13 | 16 | 18 | 20 | 23 | 24 | 26 | 29 | 31 | 33 | 34
| 3.5 | 66 | 70 | 73 | 77 | 80 | 84 | 87 | 91 | 95 | 98 | 102 | 105 | 109 | 113 | 116 | 120 | 123
| 4 | 155 | 161 | 167 | 173 | 179 | 185 | 191 | 197 | 203 | 209 | 215 | 221 | 227 | 233 | 239 | 246 | 252
| 4.5 | 264 | 273 | 283 | 292 | 301 | 310 | 319 | 328 | 337 | 346 | 355 | 364 | 374 | 383 | 392 | 401 | 410
| 5 | 396 | 409 | 421 | 434 | 447 | 460 | 472 | 485 | 498 | 510 | 523 | 536 | 549 | 561 | 574 | 587 | 600
| 5.5 | 552 | 569 | 586 | 603 | 620 | 637 | 654 | 671 | 688 | 705 | 722 | 739 | 756 | 773 | 790 | 807 | 824
| 6 | 736 | 758 | 780 | 802 | 825 | 847 | 869 | 891 | 913 | 935 | 957 | 979 | 1001 | 1023 | 1045 | 1068 | 1090
| 6.5 | 952 | 980 | 1008 | 1036 | 1065 | 1093 | 1121 | 1149 | 1177 | 1205 | 1233 | 1261 | 1289 | 1317 | 1345 | 1373 | 1401
| 7 | 1204 | 1239 | 1274 | 1309 | 1344 | 1379 | 1414 | 1449 | 1484 | 1519 | 1553 | 1588 | 1623 | 1658 | 1693 | 1728 | 1763
| 7.5 | 1493 | 1536 | 1579 | 1622 | 1665 | 1708 | 1751 | 1794 | 1836 | 1879 | 1922 | 1965 | 2008 | 2050 | 2093 | 2136 | 2178
| 8 | 1823 | 1875 | 1927 | 1979 | 2031 | 2082 | 2134 | 2186 | 2238 | 2290 | 2341 | 2393 | 2445 | 2497 | 2548 | 2600 | 2651
| 8.5 | 2180 | 2242 | 2303 | 2365 | 2426 | 2488 | 2550 | 2611 | 2672 | 2734 | 2795 | 2857 | 2918 | 2979 | 3040 | 3102 | 3163
| 9 | 2544 | 2616 | 2687 | 2759 | 2830 | 2902 | 2973 | 3045 | 3116 | 3187 | 3258 | 3329 | 3400 | 3471 | 3542 | 3614 | 3685
| 9.5 | 2904 | 2985 | 3066 | 3148 | 3229 | 3310 | 3391 | 3472 | 3553 | 3634 | 3714 | 3795 | 3877 | 3958 | 4038 | 4116 | 4194
| 10 | 3250 | 3341 | 3431 | 3522 | 3613 | 3703 | 3793 | 3883 | 3974 | 4065 | 4156 | 4243 | 4328 | 4413 | 4495 | 4560 | 4624
| 10.5 | 3578 | 3678 | 3777 | 3877 | 3976 | 4075 | 4175 | 4275 | 4370 | 4461 | 4553 | 4630 | 4700 | 4771 | 4838 | 4890 | 4942
| 11 | 3889 | 3997 | 4105 | 4213 | 4321 | 4428 | 4525 | 4621 | 4705 | 4780 | 4855 | 4918 | 4974 | 5030 | 5084 | 5123 | 5161
| 11.5 | 4188 | 4304 | 4421 | 4530 | 4632 | 4729 | 4809 | 4889 | 4956 | 5017 | 5078 | 5126 | 5168 | 5211 | 5251 | 5276 | 5302
| 12 | 4478 | 4594 | 4700 | 4796 | 4880 | 4961 | 5025 | 5090 | 5143 | 5188 | 5234 | 5269 | 5297 | 5326 | 5352 | 5364 | 5376
| 12.5 | 4733 | 4834 | 4923 | 5002 | 5071 | 5135 | 5185 | 5234 | 5272 | 5304 | 5335 | 5356 | 5371 | 5385 | 5398 | 5399 | 5399
| 13 | 4939 | 5023 | 5095 | 5158 | 5211 | 5261 | 5295 | 5330 | 5354 | 5371 | 5389 | 5396 | 5398 | 5399 | 5400 | 5400 | 5400
| 13.5 | 5100 | 5167 | 5224 | 5271 | 5309 | 5343 | 5364 | 5384 | 5394 | 5397 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 14 | 5221 | 5273 | 5314 | 5346 | 5370 | 5389 | 5394 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 14.5 | 5309 | 5345 | 5371 | 5388 | 5396 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 15 | 5365 | 5386 | 5396 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 15.5 | 5393 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 16 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 16.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 17 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 17.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 18 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 18.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 19 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 19.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 20 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 20.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 21 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 21.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 22 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 22.5 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 23 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400 | 5400
| 23.5 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359
| 24 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278 | 5278
| 24.5 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147 | 5147
| 25 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039 | 5039
| 25.5 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891 | 4891
| 26 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782 | 4782

## Sheet4
THRUST CURVE
Ct (-)
Air Density (kg/m³)
|  | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986 | 0.57986
| 3.5 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292 | 0.57292
| 4 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597 | 0.56597
| 4.5 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972
| 5 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417 | 0.55417
| 5.5 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069 | 0.55069
| 6 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861 | 0.54861
| 6.5 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722 | 0.54722
| 7 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653 | 0.54653
| 7.5 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167 | 0.54167
| 8 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778 | 0.52778
| 8.5 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903 | 0.50903
| 9 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48611 | 0.48542 | 0.48403
| 9.5 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46111 | 0.46042 | 0.46042 | 0.45972 | 0.45833 | 0.45694 | 0.45625 | 0.45417
| 10 | 0.43472 | 0.43472 | 0.43472 | 0.43472 | 0.43472 | 0.43472 | 0.43472 | 0.43472 | 0.43403 | 0.43264 | 0.43125 | 0.43056 | 0.42847 | 0.42708 | 0.425 | 0.42361 | 0.42083
| 10.5 | 0.40833 | 0.40833 | 0.40833 | 0.40833 | 0.40764 | 0.40694 | 0.40625 | 0.40486 | 0.40347 | 0.40208 | 0.4 | 0.39861 | 0.39583 | 0.39375 | 0.39167 | 0.38958 | 0.38681
| 11 | 0.38125 | 0.38125 | 0.38056 | 0.37986 | 0.37847 | 0.37708 | 0.37569 | 0.37431 | 0.37222 | 0.37014 | 0.36806 | 0.36597 | 0.36319 | 0.36042 | 0.35764 | 0.35556 | 0.35208
| 11.5 | 0.35347 | 0.35278 | 0.35208 | 0.35069 | 0.34861 | 0.34722 | 0.34514 | 0.34306 | 0.34097 | 0.33819 | 0.33542 | 0.33333 | 0.33056 | 0.32708 | 0.32431 | 0.32222 | 0.31875
| 12 | 0.32569 | 0.32431 | 0.32292 | 0.32083 | 0.31875 | 0.31667 | 0.31458 | 0.31181 | 0.30972 | 0.30694 | 0.30417 | 0.30139 | 0.29861 | 0.29514 | 0.29236 | 0.28958 | 0.28611
| 12.5 | 0.29861 | 0.29722 | 0.29514 | 0.29306 | 0.29097 | 0.28819 | 0.28611 | 0.28333 | 0.28056 | 0.27778 | 0.27431 | 0.27153 | 0.26875 | 0.26528 | 0.2625 | 0.25903 | 0.25556
| 13 | 0.27431 | 0.27222 | 0.27014 | 0.26736 | 0.26528 | 0.2625 | 0.25972 | 0.25694 | 0.25417 | 0.25069 | 0.24792 | 0.24514 | 0.24167 | 0.23819 | 0.23542 | 0.23264 | 0.22847
| 13.5 | 0.25208 | 0.24931 | 0.24722 | 0.24444 | 0.24167 | 0.23889 | 0.23611 | 0.23333 | 0.23056 | 0.22708 | 0.22431 | 0.22083 | 0.21736 | 0.21458 | 0.21111 | 0.20833 | 0.20486
| 14 | 0.23125 | 0.22917 | 0.22639 | 0.22361 | 0.22083 | 0.21806 | 0.21458 | 0.21181 | 0.20903 | 0.20556 | 0.20208 | 0.19931 | 0.19583 | 0.19236 | 0.18958 | 0.18611 | 0.18264
| 14.5 | 0.2125 | 0.21042 | 0.20694 | 0.20417 | 0.20139 | 0.19861 | 0.19583 | 0.19236 | 0.18958 | 0.18611 | 0.18264 | 0.17986 | 0.17639 | 0.17292 | 0.17014 | 0.16667 | 0.16319
| 15 | 0.19583 | 0.19306 | 0.19028 | 0.18681 | 0.18403 | 0.18125 | 0.17778 | 0.175 | 0.17153 | 0.16875 | 0.16528 | 0.1625 | 0.15903 | 0.15556 | 0.15208 | 0.14931 | 0.14583
| 15.5 | 0.17986 | 0.17708 | 0.17431 | 0.17153 | 0.16806 | 0.16528 | 0.16181 | 0.15903 | 0.15556 | 0.15278 | 0.14931 | 0.14583 | 0.14306 | 0.13958 | 0.13681 | 0.13403 | 0.13125
| 16 | 0.16597 | 0.1625 | 0.15972 | 0.15694 | 0.15347 | 0.15069 | 0.14722 | 0.14444 | 0.14097 | 0.13819 | 0.13472 | 0.13194 | 0.12917 | 0.12639 | 0.12361 | 0.12153 | 0.11875
| 16.5 | 0.15278 | 0.14931 | 0.14653 | 0.14375 | 0.14028 | 0.1375 | 0.13403 | 0.13125 | 0.12778 | 0.125 | 0.12222 | 0.11944 | 0.11736 | 0.11458 | 0.1125 | 0.11042 | 0.10833
| 17 | 0.14028 | 0.1375 | 0.13472 | 0.13125 | 0.12847 | 0.125 | 0.12222 | 0.11944 | 0.11667 | 0.11389 | 0.11111 | 0.10903 | 0.10694 | 0.10486 | 0.10278 | 0.10069 | 0.098611
| 17.5 | 0.12917 | 0.12639 | 0.12361 | 0.12014 | 0.11736 | 0.11458 | 0.11181 | 0.10903 | 0.10625 | 0.10417 | 0.10208 | 0.1 | 0.097917 | 0.095833 | 0.09375 | 0.092361 | 0.090278
| 18 | 0.11944 | 0.11667 | 0.11319 | 0.11042 | 0.10764 | 0.10486 | 0.10278 | 0.1 | 0.097917 | 0.095833 | 0.09375 | 0.091667 | 0.090278 | 0.088194 | 0.086806 | 0.084722 | 0.083333
| 18.5 | 0.11042 | 0.10764 | 0.10486 | 0.10208 | 0.099306 | 0.097222 | 0.094444 | 0.092361 | 0.090278 | 0.088194 | 0.086806 | 0.084722 | 0.083333 | 0.081944 | 0.079861 | 0.078472 | 0.077083
| 19 | 0.10208 | 0.099306 | 0.097222 | 0.094444 | 0.092361 | 0.090278 | 0.088194 | 0.086111 | 0.084028 | 0.082639 | 0.080556 | 0.079167 | 0.077778 | 0.075694 | 0.074306 | 0.072917 | 0.072222
| 19.5 | 0.095139 | 0.093056 | 0.090278 | 0.088194 | 0.086111 | 0.084028 | 0.081944 | 0.080556 | 0.078472 | 0.077083 | 0.075694 | 0.073611 | 0.072222 | 0.070833 | 0.070139 | 0.099 | 0.097
| 20 | 0.089583 | 0.0875 | 0.084722 | 0.082639 | 0.080556 | 0.079167 | 0.077083 | 0.075694 | 0.073611 | 0.072222 | 0.070833 | 0.069444 | 0.098 | 0.096 | 0.095 | 0.093 | 0.091
| 20.5 | 0.084722 | 0.081944 | 0.079861 | 0.078472 | 0.076389 | 0.074306 | 0.072917 | 0.071528 | 0.070139 | 0.099 | 0.097 | 0.095 | 0.093 | 0.091 | 0.089 | 0.088 | 0.086
| 21 | 0.079861 | 0.077778 | 0.076389 | 0.074306 | 0.072222 | 0.070833 | 0.069444 | 0.098 | 0.096 | 0.094 | 0.092 | 0.09 | 0.088 | 0.087 | 0.085 | 0.084 | 0.082
| 21.5 | 0.076389 | 0.074306 | 0.072222 | 0.070833 | 0.069444 | 0.097 | 0.095 | 0.093 | 0.091 | 0.089 | 0.088 | 0.086 | 0.084 | 0.083 | 0.081 | 0.08 | 0.078
| 22 | 0.072917 | 0.071528 | 0.069444 | 0.098 | 0.095 | 0.093 | 0.091 | 0.089 | 0.087 | 0.086 | 0.084 | 0.082 | 0.081 | 0.079 | 0.078 | 0.077 | 0.075
| 22.5 | 0.097 | 0.095 | 0.093 | 0.091 | 0.088 | 0.086 | 0.084 | 0.083 | 0.081 | 0.08 | 0.078 | 0.076 | 0.075 | 0.073 | 0.072 | 0.071 | 0.07
| 23 | 0.09 | 0.088 | 0.086 | 0.084 | 0.081 | 0.08 | 0.078 | 0.076 | 0.075 | 0.074 | 0.072 | 0.07 | 0.069 | 0.068 | 0.067 | 0.066 | 0.064
| 23.5 | 0.083 | 0.081 | 0.079 | 0.077 | 0.075 | 0.073 | 0.072 | 0.07 | 0.069 | 0.068 | 0.066 | 0.065 | 0.064 | 0.062 | 0.062 | 0.061 | 0.059
| 24 | 0.077 | 0.075 | 0.073 | 0.072 | 0.07 | 0.068 | 0.067 | 0.065 | 0.064 | 0.063 | 0.061 | 0.06 | 0.059 | 0.058 | 0.057 | 0.056 | 0.055
| 24.5 | 0.071 | 0.07 | 0.068 | 0.066 | 0.064 | 0.063 | 0.061 | 0.06 | 0.059 | 0.058 | 0.057 | 0.055 | 0.055 | 0.053 | 0.053 | 0.052 | 0.051
| 25 | 0.066 | 0.065 | 0.063 | 0.061 | 0.06 | 0.058 | 0.057 | 0.056 | 0.055 | 0.054 | 0.053 | 0.051 | 0.051 | 0.05 | 0.049 | 0.048 | 0.047
| 25.5 | 0.061 | 0.06 | 0.058 | 0.057 | 0.055 | 0.054 | 0.053 | 0.051 | 0.05 | 0.05 | 0.049 | 0.047 | 0.047 | 0.046 | 0.045 | 0.045 | 0.043
| 26 | 0.056 | 0.055 | 0.054 | 0.053 | 0.051 | 0.05 | 0.049 | 0.048 | 0.047 | 0.046 | 0.045 | 0.044 | 0.044 | 0.043 | 0.042 | 0.041 | 0.04