## Sheet1
PROPERTIES
General
Name | Nordex N163/5.X Class B 108m 5,15MW
Manufacturer | Nordex
Hub Height | 108
Power
Rated Power | 5150
Peak Power | 5150
Power Regulation Type | Pitch
Voltage | 750
Rotor
Rotor diameter | 163
Number of blades | 3
Rated RPM | 11.8
Rotor tilt | 5
Speed Regulation Type | Variable
Wind Speed Control Strategies
Cut-in Wind Speed | 3
Cut-out Wind Speed | 26
Restart Wind Speed | 25.5
Stop Wind Speed | 3
Temperature Control Strategies
Low Temperature Shutdown | -20
Low Temperature Restart | -18
High Temperature Shutdown | 45
High Temperature Restart | 40
Comments and details

## Sheet2
TURBINE CLASIFICATION
Class and Subclass
Turbine Class | S
Turbine SubClass | B
Values
Certification | IEC 3rd Edition
Vave | 6.5-8
Vref | 38.8-40.3
Design TI | 0.16

## Sheet3
POWER CURVE
Power (kW)
Air Density (kg/m³)
TI (%) | 10 | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 12 | 15 | 17 | 19 | 22 | 24 | 26 | 28 | 31 | 33 | 35 | 37 | 40 | 42 | 44 | 46 | 49
| 3.5 | 90 | 95 | 99 | 103 | 108 | 112 | 117 | 121 | 126 | 130 | 134 | 139 | 143 | 148 | 152 | 156 | 161
| 4 | 194 | 201 | 209 | 216 | 223 | 231 | 238 | 245 | 253 | 260 | 267 | 275 | 282 | 289 | 296 | 304 | 311
| 4.5 | 323 | 334 | 345 | 355 | 366 | 377 | 388 | 399 | 410 | 421 | 432 | 442 | 453 | 464 | 475 | 486 | 497
| 5 | 477 | 492 | 507 | 522 | 537 | 552 | 567 | 582 | 598 | 613 | 628 | 643 | 658 | 673 | 688 | 703 | 719
| 5.5 | 659 | 680 | 700 | 720 | 740 | 760 | 781 | 801 | 821 | 841 | 861 | 881 | 902 | 922 | 942 | 962 | 982
| 6 | 877 | 903 | 929 | 955 | 981 | 1007 | 1034 | 1060 | 1086 | 1112 | 1138 | 1164 | 1190 | 1217 | 1243 | 1269 | 1295
| 6.5 | 1132 | 1165 | 1199 | 1232 | 1265 | 1298 | 1331 | 1365 | 1398 | 1431 | 1464 | 1497 | 1531 | 1564 | 1597 | 1630 | 1663
| 7 | 1430 | 1472 | 1513 | 1555 | 1596 | 1638 | 1679 | 1720 | 1762 | 1803 | 1845 | 1886 | 1927 | 1969 | 2010 | 2051 | 2093
| 7.5 | 1765 | 1816 | 1866 | 1917 | 1968 | 2018 | 2069 | 2119 | 2170 | 2220 | 2271 | 2321 | 2372 | 2422 | 2473 | 2523 | 2574
| 8 | 2112 | 2172 | 2232 | 2293 | 2353 | 2413 | 2473 | 2533 | 2593 | 2653 | 2713 | 2773 | 2833 | 2893 | 2953 | 3013 | 3073
| 8.5 | 2454 | 2524 | 2593 | 2663 | 2732 | 2802 | 2871 | 2940 | 3010 | 3079 | 3148 | 3218 | 3287 | 3356 | 3425 | 3494 | 3564
| 9 | 2780 | 2858 | 2936 | 3015 | 3093 | 3172 | 3250 | 3328 | 3406 | 3484 | 3563 | 3641 | 3719 | 3797 | 3875 | 3953 | 4030
| 9.5 | 3084 | 3171 | 3258 | 3344 | 3431 | 3517 | 3604 | 3690 | 3777 | 3863 | 3950 | 4037 | 4122 | 4205 | 4288 | 4366 | 4430
| 10 | 3371 | 3466 | 3560 | 3655 | 3749 | 3843 | 3937 | 4032 | 4128 | 4219 | 4308 | 4398 | 4471 | 4540 | 4608 | 4671 | 4721
| 10.5 | 3643 | 3745 | 3847 | 3948 | 4050 | 4153 | 4256 | 4350 | 4445 | 4527 | 4600 | 4672 | 4731 | 4785 | 4840 | 4889 | 4925
| 11 | 3902 | 4011 | 4120 | 4230 | 4339 | 4437 | 4536 | 4614 | 4691 | 4757 | 4816 | 4874 | 4918 | 4958 | 4998 | 5032 | 5056
| 11.5 | 4154 | 4271 | 4387 | 4489 | 4590 | 4670 | 4751 | 4814 | 4876 | 4927 | 4970 | 5013 | 5043 | 5070 | 5096 | 5117 | 5127
| 12 | 4403 | 4511 | 4615 | 4700 | 4783 | 4848 | 4913 | 4961 | 5007 | 5044 | 5073 | 5102 | 5118 | 5130 | 5142 | 5150 | 5150
| 12.5 | 4616 | 4707 | 4793 | 4862 | 4929 | 4978 | 5028 | 5061 | 5093 | 5115 | 5130 | 5145 | 5149 | 5149 | 5150 | 5150 | 5150
| 13 | 4785 | 4858 | 4929 | 4981 | 5033 | 5067 | 5102 | 5121 | 5138 | 5147 | 5149 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 13.5 | 4915 | 4973 | 5028 | 5065 | 5101 | 5122 | 5142 | 5146 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 14 | 5014 | 5057 | 5096 | 5119 | 5140 | 5146 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 14.5 | 5085 | 5113 | 5137 | 5144 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 15 | 5130 | 5142 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 15.5 | 5149 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 16 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 16.5 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 17 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 17.5 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 18 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 18.5 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 19 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 19.5 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 20 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 20.5 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 21 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 21.5 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150 | 5150
| 22 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109 | 5109
| 22.5 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005 | 5005
| 23 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856 | 4856
| 23.5 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708 | 4708
| 24 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 | 4560
| 24.5 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418 | 4418
| 25 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269 | 4269
| 25.5 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121
| 26 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973 | 3973

## Sheet4
THRUST CURVE
Ct (-)
Air Density (kg/m³)
|  | 0.9 | 0.925 | 0.95 | 0.975 | 1 | 1.025 | 1.05 | 1.075 | 1.1 | 1.125 | 1.15 | 1.175 | 1.2 | 1.225 | 1.25 | 1.275 | 1.3
Wind Speed (m/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764 | 0.60764
| 3.5 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208 | 0.60208
| 4 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819 | 0.58819
| 4.5 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639 | 0.57639
| 5 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875 | 0.56875
| 5.5 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458 | 0.56458
| 6 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181 | 0.56181
| 6.5 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972 | 0.55972
| 7 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792 | 0.54792
| 7.5 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708 | 0.52708
| 8 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139 | 0.50139
| 8.5 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47222 | 0.47083
| 9 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44167 | 0.44028 | 0.43958 | 0.43889 | 0.4375 | 0.43611
| 9.5 | 0.41042 | 0.41042 | 0.41042 | 0.41042 | 0.41042 | 0.41042 | 0.41042 | 0.40972 | 0.40972 | 0.40903 | 0.40833 | 0.40694 | 0.40556 | 0.40417 | 0.40278 | 0.40139 | 0.39931
| 10 | 0.37847 | 0.37847 | 0.37847 | 0.37847 | 0.37847 | 0.37847 | 0.37778 | 0.37708 | 0.37569 | 0.375 | 0.37292 | 0.37153 | 0.36944 | 0.36806 | 0.36597 | 0.36389 | 0.36111
| 10.5 | 0.34792 | 0.34792 | 0.34722 | 0.34722 | 0.34653 | 0.34514 | 0.34444 | 0.34306 | 0.34167 | 0.33958 | 0.3375 | 0.33611 | 0.33403 | 0.33125 | 0.32917 | 0.32708 | 0.32431
| 11 | 0.31736 | 0.31736 | 0.31667 | 0.31528 | 0.31458 | 0.3125 | 0.31111 | 0.30972 | 0.30764 | 0.30556 | 0.30347 | 0.30139 | 0.29861 | 0.29653 | 0.29375 | 0.29167 | 0.28819
| 11.5 | 0.28958 | 0.28889 | 0.2875 | 0.28611 | 0.28472 | 0.28333 | 0.28125 | 0.27917 | 0.27708 | 0.275 | 0.27222 | 0.27014 | 0.26736 | 0.26458 | 0.26181 | 0.25972 | 0.25625
| 12 | 0.26458 | 0.26319 | 0.26181 | 0.26042 | 0.25833 | 0.25625 | 0.25417 | 0.25208 | 0.25 | 0.24722 | 0.24444 | 0.24236 | 0.23958 | 0.23681 | 0.23403 | 0.23125 | 0.22847
| 12.5 | 0.24236 | 0.24028 | 0.23889 | 0.23681 | 0.23472 | 0.23264 | 0.23056 | 0.22778 | 0.22569 | 0.22292 | 0.22014 | 0.21736 | 0.21458 | 0.21181 | 0.20903 | 0.20625 | 0.20347
| 13 | 0.22153 | 0.21944 | 0.21736 | 0.21528 | 0.21319 | 0.21111 | 0.20833 | 0.20625 | 0.20347 | 0.20069 | 0.19792 | 0.19514 | 0.19236 | 0.18958 | 0.18681 | 0.18403 | 0.18125
| 13.5 | 0.20278 | 0.20069 | 0.19861 | 0.19653 | 0.19444 | 0.19167 | 0.18889 | 0.18681 | 0.18403 | 0.18125 | 0.17847 | 0.17569 | 0.17292 | 0.16944 | 0.16667 | 0.16389 | 0.16111
| 14 | 0.18611 | 0.18333 | 0.18125 | 0.17917 | 0.17639 | 0.17431 | 0.17153 | 0.16875 | 0.16597 | 0.16319 | 0.16042 | 0.15764 | 0.15486 | 0.15208 | 0.14931 | 0.14653 | 0.14375
| 14.5 | 0.17083 | 0.16806 | 0.16597 | 0.16319 | 0.16111 | 0.15833 | 0.15556 | 0.15278 | 0.15069 | 0.14792 | 0.14444 | 0.14236 | 0.13889 | 0.13611 | 0.13333 | 0.13056 | 0.12847
| 15 | 0.15625 | 0.15417 | 0.15139 | 0.14931 | 0.14653 | 0.14375 | 0.14167 | 0.13889 | 0.13611 | 0.13333 | 0.13056 | 0.12778 | 0.125 | 0.12222 | 0.12014 | 0.11736 | 0.11528
| 15.5 | 0.14375 | 0.14097 | 0.13889 | 0.13611 | 0.13403 | 0.13125 | 0.12847 | 0.12569 | 0.12292 | 0.12014 | 0.11736 | 0.11528 | 0.1125 | 0.11042 | 0.10833 | 0.10625 | 0.10417
| 16 | 0.13194 | 0.12986 | 0.12708 | 0.12431 | 0.12222 | 0.11944 | 0.11667 | 0.11389 | 0.11111 | 0.10903 | 0.10625 | 0.10417 | 0.10208 | 0.1 | 0.097917 | 0.096528 | 0.094444
| 16.5 | 0.12153 | 0.11944 | 0.11667 | 0.11389 | 0.11181 | 0.10903 | 0.10625 | 0.10417 | 0.10139 | 0.099306 | 0.097222 | 0.095139 | 0.093056 | 0.091667 | 0.089583 | 0.088194 | 0.086111
| 17 | 0.1125 | 0.11042 | 0.10764 | 0.10486 | 0.10278 | 0.1 | 0.097917 | 0.095139 | 0.093056 | 0.090972 | 0.089583 | 0.0875 | 0.086111 | 0.084028 | 0.082639 | 0.08125 | 0.079861
| 17.5 | 0.10486 | 0.10208 | 0.099306 | 0.097222 | 0.094444 | 0.092361 | 0.090278 | 0.088194 | 0.086111 | 0.084722 | 0.082639 | 0.08125 | 0.079167 | 0.077778 | 0.076389 | 0.075 | 0.073611
| 18 | 0.097222 | 0.095139 | 0.092361 | 0.090278 | 0.088194 | 0.086111 | 0.084028 | 0.081944 | 0.080556 | 0.078472 | 0.077083 | 0.075694 | 0.074306 | 0.072917 | 0.071528 | 0.070139 | 0.099
| 18.5 | 0.090972 | 0.088889 | 0.086806 | 0.084028 | 0.082639 | 0.080556 | 0.078472 | 0.077083 | 0.075 | 0.073611 | 0.072222 | 0.070833 | 0.069444 | 0.098 | 0.096 | 0.095 | 0.093
| 19 | 0.086111 | 0.083333 | 0.08125 | 0.079167 | 0.077778 | 0.075694 | 0.074306 | 0.072222 | 0.070833 | 0.069444 | 0.098 | 0.096 | 0.094 | 0.092 | 0.091 | 0.089 | 0.088
| 19.5 | 0.08125 | 0.079167 | 0.077083 | 0.075 | 0.073611 | 0.071528 | 0.070139 | 0.099 | 0.097 | 0.095 | 0.093 | 0.091 | 0.089 | 0.088 | 0.086 | 0.085 | 0.083
| 20 | 0.077083 | 0.075694 | 0.073611 | 0.071528 | 0.070139 | 0.099 | 0.096 | 0.094 | 0.092 | 0.09 | 0.089 | 0.087 | 0.085 | 0.084 | 0.082 | 0.081 | 0.079
| 20.5 | 0.070833 | 0.069444 | 0.098 | 0.095 | 0.093 | 0.091 | 0.088 | 0.086 | 0.085 | 0.083 | 0.082 | 0.08 | 0.078 | 0.077 | 0.075 | 0.075 | 0.073
| 21 | 0.093 | 0.092 | 0.089 | 0.087 | 0.085 | 0.083 | 0.081 | 0.079 | 0.077 | 0.076 | 0.075 | 0.073 | 0.071 | 0.071 | 0.069 | 0.068 | 0.066
| 21.5 | 0.085 | 0.083 | 0.081 | 0.078 | 0.077 | 0.075 | 0.073 | 0.072 | 0.07 | 0.069 | 0.068 | 0.066 | 0.065 | 0.064 | 0.062 | 0.062 | 0.06
| 22 | 0.077 | 0.076 | 0.074 | 0.072 | 0.07 | 0.069 | 0.067 | 0.066 | 0.064 | 0.063 | 0.062 | 0.061 | 0.059 | 0.059 | 0.057 | 0.056 | 0.055
| 22.5 | 0.071 | 0.07 | 0.068 | 0.066 | 0.064 | 0.063 | 0.061 | 0.06 | 0.059 | 0.057 | 0.057 | 0.056 | 0.054 | 0.054 | 0.052 | 0.052 | 0.05
| 23 | 0.065 | 0.064 | 0.062 | 0.06 | 0.059 | 0.058 | 0.056 | 0.055 | 0.054 | 0.053 | 0.052 | 0.051 | 0.05 | 0.049 | 0.048 | 0.047 | 0.046
| 23.5 | 0.059 | 0.058 | 0.056 | 0.055 | 0.054 | 0.053 | 0.051 | 0.05 | 0.049 | 0.048 | 0.047 | 0.046 | 0.045 | 0.045 | 0.044 | 0.043 | 0.042
| 24 | 0.054 | 0.053 | 0.052 | 0.05 | 0.049 | 0.049 | 0.047 | 0.046 | 0.045 | 0.044 | 0.044 | 0.043 | 0.042 | 0.041 | 0.04 | 0.04 | 0.039
| 24.5 | 0.05 | 0.049 | 0.048 | 0.046 | 0.045 | 0.045 | 0.043 | 0.042 | 0.041 | 0.041 | 0.04 | 0.039 | 0.038 | 0.038 | 0.037 | 0.036 | 0.036
| 25 | 0.046 | 0.045 | 0.044 | 0.043 | 0.042 | 0.041 | 0.04 | 0.039 | 0.038 | 0.038 | 0.037 | 0.036 | 0.035 | 0.035 | 0.034 | 0.034 | 0.033
| 25.5 | 0.043 | 0.042 | 0.041 | 0.04 | 0.039 | 0.038 | 0.037 | 0.036 | 0.035 | 0.035 | 0.034 | 0.033 | 0.033 | 0.032 | 0.032 | 0.031 | 0.03
| 26 | 0.04 | 0.039 | 0.038 | 0.037 | 0.036 | 0.035 | 0.034 | 0.034 | 0.033 | 0.032 | 0.032 | 0.031 | 0.03 | 0.03 | 0.029 | 0.029 | 0.028